## BOD Accuracy
BOD Accuracy
Date | Actual Reading (mg/l) | Standard Value | Difference | *UCL | *LCL | **2/3 UWL | **2/3 LWL | Comments
2024-04-18 | 182 | 198 | 16 | 228.5 | 167.5 | 218.3333 | 177.6667
2024-04-19 | 188 | 198 | 10 | 228.5 | 167.5 | 218.3333 | 177.6667
2024-04-20 | 185 | 198 | 13 | 228.5 | 167.5 | 218.3333 | 177.6667
2024-04-21 | 181 | 198 | 17 | 228.5 | 167.5 | 218.3333 | 177.6667
2024-04-22 | 205 | 198 | 7 | 228.5 | 167.5 | 218.3333 | 177.6667
2024-04-23 | 152 | 198 | 46 | 228.5 | 167.5 | 218.3333 | 177.6667
2024-04-24 | 184 | 198 | 14 | 228.5 | 167.5 | 218.3333 | 177.6667
2024-04-25 | 157 | 198 | 41 | 228.5 | 167.5 | 218.3333 | 177.6667
2024-04-26 | 178 | 198 | 20 | 228.5 | 167.5 | 218.3333 | 177.6667
2024-04-27 | 181 | 198 | 17 | 228.5 | 167.5 | 218.3333 | 177.6667
2024-04-28 | 179 | 198 | 19 | 228.5 | 167.5 | 218.3333 | 177.6667
2024-04-29 | 169 | 198 | 29 | 228.5 | 167.5 | 218.3333 | 177.6667
2024-04-30 | 165 | 198 | 33 | 228.5 | 167.5 | 218.3333 | 177.6667
2024-05-01 | 196 | 198 | 2 | 228.5 | 167.5 | 218.3333 | 177.6667
2024-05-02 | 210 | 198 | 12 | 228.5 | 167.5 | 218.3333 | 177.6667
|  | 198 | 198 | 228.5 | 167.5 | 218.3333 | 177.6667
|  | 198 | 198 | 228.5 | 167.5 | 218.3333 | 177.6667
|  | 198 | 198 | 228.5 | 167.5 | 218.3333 | 177.6667
|  | 198 | 198 | 228.5 | 167.5 | 218.3333 | 177.6667
|  | 198 | 198 | 228.5 | 167.5 | 218.3333 | 177.6667
|  | 198 | 198 | 228.5 | 167.5 | 218.3333 | 177.6667
|  | 198 | 198 | 228.5 | 167.5 | 218.3333 | 177.6667
|  | 198 | 198 | 228.5 | 167.5 | 218.3333 | 177.6667
* Control and warning limits are based on +/- 30.5 mg/l, the standard value of the glucose solution.
**2/3 of 30.5 (= 20.33) for upper and lower warning limits

## Influent BOD Precision
Influent BOD Precision Control
Date | #1 Sample Dilution (mg/l) | #2 Sample Dilution Duplicate (mg/l) | Average | Range (Difference) | Relative % Difference (RPD) | Data Avg | UWL | LWL | UCL | LCL | Comments
2024-04-18 | 85 | 86 | 85.5 | 1 | 1.1696 | 2.9408 | 8.3796 | -2.498 | 11.099 | -5.2174
2024-04-19 | 78 | 74 | 76 | 4 | 5.2632 | 2.9408 | 8.3796 | -2.498 | 11.099 | -5.2174
2024-04-20 | 62 | 62 | 62 | 0 | 0 | 2.9408 | 8.3796 | -2.498 | 11.099 | -5.2174
2024-04-21 | 70 | 66 | 68 | 4 | 5.8824 | 2.9408 | 8.3796 | -2.498 | 11.099 | -5.2174
2024-04-22 | 67 | 66 | 66.5 | 1 | 1.5038 | 2.9408 | 8.3796 | -2.498 | 11.099 | -5.2174
2024-04-23 | 76 | 76 | 76 | 0 | 0 | 2.9408 | 8.3796 | -2.498 | 11.099 | -5.2174
2024-04-24 | 61 | 55 | 58 | 6 | 10.3448 | 2.9408 | 8.3796 | -2.498 | 11.099 | -5.2174
2024-04-25 | 65 | 63 | 64 | 2 | 3.125 | 2.9408 | 8.3796 | -2.498 | 11.099 | -5.2174
2024-04-26 | 72 | 71 | 71.5 | 1 | 1.3986 | 2.9408 | 8.3796 | -2.498 | 11.099 | -5.2174
2024-04-27 | 73 | 71 | 72 | 2 | 2.7778 | 2.9408 | 8.3796 | -2.498 | 11.099 | -5.2174
2024-04-28 | 75 | 71 | 73 | 4 | 5.4795 | 2.9408 | 8.3796 | -2.498 | 11.099 | -5.2174
2024-04-29 | 77 | 75 | 76 | 2 | 2.6316 | 2.9408 | 8.3796 | -2.498 | 11.099 | -5.2174
2024-04-30 | 83 | 83 | 83 | 0 | 0 | 2.9408 | 8.3796 | -2.498 | 11.099 | -5.2174
2024-05-01 | 65 | 64 | 64.5 | 1 | 1.5504 | 2.9408 | 8.3796 | -2.498 | 11.099 | -5.2174
2024-05-02 | 66 | 68 | 67 | 2 | 2.9851 | 2.9408 | 8.3796 | -2.498 | 11.099 | -5.2174
|  |  | #DIV/0! | 0 | #DIV/0! | 2.9408 | 8.3796 | -2.498 | 11.099 | -5.2174
|  |  | #DIV/0! | 0 | #DIV/0! | 2.9408 | 8.3796 | -2.498 | 11.099 | -5.2174
|  |  | #DIV/0! | 0 | #DIV/0! | 2.9408 | 8.3796 | -2.498 | 11.099 | -5.2174
|  |  | #DIV/0! | 0 | #DIV/0! | 2.9408 | 8.3796 | -2.498 | 11.099 | -5.2174
|  |  | #DIV/0! | 0 | #DIV/0! | 2.9408 | 8.3796 | -2.498 | 11.099 | -5.2174
|  |  | #DIV/0! | 0 | #DIV/0! | 2.9408 | 8.3796 | -2.498 | 11.099 | -5.2174
|  |  | #DIV/0! | 0 | #DIV/0! | 2.9408 | 8.3796 | -2.498 | 11.099 | -5.2174
|  |  | #DIV/0! | 0 | #DIV/0! | 2.9408 | 8.3796 | -2.498 | 11.099 | -5.2174
[12 empty] | Data Average | Mean | 2.9408
[12 empty] | Standard Deviation | Std Dev | 2.7194
[12 empty] | Upper Warning Limit | UWL | 8.3796 | Data Avg + 2 * std deviation
[12 empty] | Lower Warning Limit | LWL | -2.498 | Data Avg - 2 * std deviation
[12 empty] | Upper Control Limit | UCL | 11.099 | Data Avg + 3 * std deviation
[12 empty] | Lower Control Limit | LCL | -5.2174 | Data Avg - 3 * std deviation

## Effluent BOD Precision
Effluent BOD Precision Control
Date | #1 Sample Dilution (mg/l) | #2 Sample Dilution Duplicate (mg/l) | Average | Range (Difference) | Relative % Difference (RPD) | Data Avg | UWL | LWL | UCL | LCL | Comments
2024-04-18 | 2.75 | 3 | 2.875 | 0.25 | 8.6957 | 12.8064 | 21.416 | 4.1968 | 25.7208 | -0.10799
2024-04-19 | 3 | 3.5 | 3.25 | 0.5 | 15.3846 | 12.8064 | 21.416 | 4.1968 | 25.7208 | -0.10799
2024-04-20 | 3.2 | 3 | 3.1 | 0.2 | 6.4516 | 12.8064 | 21.416 | 4.1968 | 25.7208 | -0.10799
2024-04-21 | 4 | 4.5 | 4.25 | 0.5 | 11.7647 | 12.8064 | 21.416 | 4.1968 | 25.7208 | -0.10799
2024-04-22 | 3 | 2.5 | 2.75 | 0.5 | 18.1818 | 12.8064 | 21.416 | 4.1968 | 25.7208 | -0.10799
2024-04-23 | 2.6 | 3 | 2.8 | 0.4 | 14.2857 | 12.8064 | 21.416 | 4.1968 | 25.7208 | -0.10799
2024-04-24 | 3 | 3.5 | 3.25 | 0.5 | 15.3846 | 12.8064 | 21.416 | 4.1968 | 25.7208 | -0.10799
2024-04-25 | 4 | 3.5 | 3.75 | 0.5 | 13.3333 | 12.8064 | 21.416 | 4.1968 | 25.7208 | -0.10799
2024-04-26 | 3 | 2.5 | 2.75 | 0.5 | 18.1818 | 12.8064 | 21.416 | 4.1968 | 25.7208 | -0.10799
2024-04-27 | 3 | 3.25 | 3.125 | 0.25 | 8 | 12.8064 | 21.416 | 4.1968 | 25.7208 | -0.10799
2024-04-28 | 3.5 | 3.25 | 3.375 | 0.25 | 7.4074 | 12.8064 | 21.416 | 4.1968 | 25.7208 | -0.10799
2024-04-29 | 2.5 | 3 | 2.75 | 0.5 | 18.1818 | 12.8064 | 21.416 | 4.1968 | 25.7208 | -0.10799
2024-04-30 | 3.75 | 3.5 | 3.625 | 0.25 | 6.8966 | 12.8064 | 21.416 | 4.1968 | 25.7208 | -0.10799
2024-05-01 | 2.5 | 3 | 2.75 | 0.5 | 18.1818 | 12.8064 | 21.416 | 4.1968 | 25.7208 | -0.10799
2024-05-02 | 4.5 | 4 | 4.25 | 0.5 | 11.7647 | 12.8064 | 21.416 | 4.1968 | 25.7208 | -0.10799
|  |  | #DIV/0! | 0 | #DIV/0! | 12.8064 | 21.416 | 4.1968 | 25.7208 | -0.10799
|  |  | #DIV/0! | 0 | #DIV/0! | 12.8064 | 21.416 | 4.1968 | 25.7208 | -0.10799
|  |  | #DIV/0! | 0 | #DIV/0! | 12.8064 | 21.416 | 4.1968 | 25.7208 | -0.10799
|  |  | #DIV/0! | 0 | #DIV/0! | 12.8064 | 21.416 | 4.1968 | 25.7208 | -0.10799
|  |  | #DIV/0! | 0 | #DIV/0! | 12.8064 | 21.416 | 4.1968 | 25.7208 | -0.10799
|  |  | #DIV/0! | 0 | #DIV/0! | 12.8064 | 21.416 | 4.1968 | 25.7208 | -0.10799
|  |  | #DIV/0! | 0 | #DIV/0! | 12.8064 | 21.416 | 4.1968 | 25.7208 | -0.10799
|  |  | #DIV/0! | 0 | #DIV/0! | 12.8064 | 21.416 | 4.1968 | 25.7208 | -0.10799
[12 empty] | Data Average | Mean | 12.8064
[12 empty] | Standard Deviation | Std Dev | 4.3048
[12 empty] | Upper Warning Limit | UWL | 21.416 | Data Avg + 2 * std deviation
[12 empty] | Lower Warning Limit | LWL | 4.1968 | Data Avg - 2 * std deviation
[12 empty] | Upper Control Limit | UCL | 25.7208 | Data Avg + 3 * std deviation
[12 empty] | Lower Control Limit | LCL | -0.10799 | Data Avg - 3 * std deviation

## BOD Dilution Water
BOD Dilution Water Depletion
Date | Max Allowed Depletion | Actual Value | Difference | % Difference | Upper Control Limit | Lower Control Limit | 2/3 Upper Control Limit *2/3 OF 0.2 (0.13) | Comments
2024-04-18 | 0.2 | 0.1 | 0.1 | 50 | 0.2 | 0 | 0.13333
2024-04-19 | 0.2 | 0.16 | 0.04 | 80 | 0.2 | 0 | 0.13333
2024-04-20 | 0.2 | 0.12 | 0.08 | 60 | 0.2 | 0 | 0.13333
2024-04-21 | 0.2 | 0.11 | 0.09 | 55 | 0.2 | 0 | 0.13333
2024-04-22 | 0.2 | 0.19 | 0.01 | 95 | 0.2 | 0 | 0.13333
2024-04-23 | 0.2 | 0.11 | 0.09 | 55 | 0.2 | 0 | 0.13333
2024-04-24 | 0.2 | 0.14 | 0.06 | 70 | 0.2 | 0 | 0.13333
2024-04-25 | 0.2 | 0.18 | 0.02 | 90 | 0.2 | 0 | 0.13333
2024-04-26 | 0.2 | 0.14 | 0.06 | 70 | 0.2 | 0 | 0.13333
2024-04-27 | 0.2 | 0.07 | 0.13 | 35 | 0.2 | 0 | 0.13333
2024-04-28 | 0.2 | 0.13 | 0.07 | 65 | 0.2 | 0 | 0.13333
| 0.2 |  | 0.2 | 0 | 0.2 | 0 | 0.13333
| 0.2 |  | 0.2 | 0 | 0.2 | 0 | 0.13333
| 0.2 |  | 0.2 | 0 | 0.2 | 0 | 0.13333
| 0.2 |  | 0.2 | 0 | 0.2 | 0 | 0.13333
| 0.2 |  | 0.2 | 0 | 0.2 | 0 | 0.13333
| 0.2 |  | 0.2 | 0 | 0.2 | 0 | 0.13333
| 0.2 |  | 0.2 | 0 | 0.2 | 0 | 0.13333
| 0.2 |  | 0.2 | 0 | 0.2 | 0 | 0.13333
| 0.2 |  | 0.2 | 0 | 0.2 | 0 | 0.13333
| 0.2 |  | 0.2 | 0 | 0.2 | 0 | 0.13333
| 0.2 |  | 0.2 | 0 | 0.2 | 0 | 0.13333
| 0.2 |  | 0.2 | 0 | 0.2 | 0 | 0.13333

## Ammonia Accuracy Control
Ammonia Accuracy Control
Date | Ammonia Value | Actual Value | % Recovery | Average of % Recovery | UWL | LWL | UCL | LCL | Corrective action Statement
2024-04-18 | 0.95 | 1 | 95 | 99.4444 | 102.5871 | 96.3017 | 104.1585 | 94.7304
2024-04-19 | 0.95 | 1 | 95 | 99.4444 | 102.5871 | 96.3017 | 104.1585 | 94.7304
2024-04-20 | 1 | 1 | 100 | 99.4444 | 102.5871 | 96.3017 | 104.1585 | 94.7304
2024-04-21 | 1 | 1 | 100 | 99.4444 | 102.5871 | 96.3017 | 104.1585 | 94.7304
2024-04-22 | 1 | 1 | 100 | 99.4444 | 102.5871 | 96.3017 | 104.1585 | 94.7304
2024-04-23 | 1 | 1 | 100 | 99.4444 | 102.5871 | 96.3017 | 104.1585 | 94.7304
2024-04-24 | 1 | 1 | 100 | 99.4444 | 102.5871 | 96.3017 | 104.1585 | 94.7304
2024-04-25 | 1 | 1 | 100 | 99.4444 | 102.5871 | 96.3017 | 104.1585 | 94.7304
2024-04-26 | 1 | 1 | 100 | 99.4444 | 102.5871 | 96.3017 | 104.1585 | 94.7304
2024-04-27 | 1 | 1 | 100 | 99.4444 | 102.5871 | 96.3017 | 104.1585 | 94.7304
2024-04-28 | 1 | 1 | 100 | 99.4444 | 102.5871 | 96.3017 | 104.1585 | 94.7304
2024-04-29 | 1 | 1 | 100 | 99.4444 | 102.5871 | 96.3017 | 104.1585 | 94.7304
2024-04-30 | 1 | 1 | 100 | 99.4444 | 102.5871 | 96.3017 | 104.1585 | 94.7304
2024-05-01 | 1 | 1 | 100 | 99.4444 | 102.5871 | 96.3017 | 104.1585 | 94.7304
2024-05-02 | 1 | 1 | 100 | 99.4444 | 102.5871 | 96.3017 | 104.1585 | 94.7304
2024-05-03 | 1 | 1 | 100 | 99.4444 | 102.5871 | 96.3017 | 104.1585 | 94.7304
2024-05-04 | 1 | 1 | 100 | 99.4444 | 102.5871 | 96.3017 | 104.1585 | 94.7304
2024-05-05 | 1 | 1 | 100 | 99.4444 | 102.5871 | 96.3017 | 104.1585 | 94.7304
2024-05-06 | 1 | 1 | 100 | 99.4444 | 102.5871 | 96.3017 | 104.1585 | 94.7304
2024-05-07 | 1 | 1 | 100 | 99.4444 | 102.5871 | 96.3017 | 104.1585 | 94.7304
2024-05-08 | 1 | 1 | 100 | 99.4444 | 102.5871 | 96.3017 | 104.1585 | 94.7304
2024-05-09 | 1 | 1 | 100 | 99.4444 | 102.5871 | 96.3017 | 104.1585 | 94.7304
2024-05-10 | 1 | 1 | 100 | 99.4444 | 102.5871 | 96.3017 | 104.1585 | 94.7304
[10 empty] | Average of % Recoveries | Mean | 99.4444
[10 empty] | Standard Deviation | Std Dev | 1.5713
[10 empty] | Upper Warning Limit | UWL | 102.5871 | Data Avg + 2 * std deviation
[10 empty] | Lower Warning Limit | LWL | 96.3017 | Data Avg - 2 * std deviation
Real people language – analyze TSS Standard sample that can be prepared from recipe below or bought premade. | [9 empty] | Upper Control Limit | UCL | 104.1585 | Data Avg + 3 * std deviation
| Run on a 5% basis | [8 empty] | Lower Control Limit | LCL | 94.7304 | Data Avg - 3 * std deviation
Control charts show time-ordered plotted points around a center line. The center line is determined by calculating the mean of the plot points, typically about 20 to 25 points. The upper (UCL) and lower control limits (LCL) are typically set at +/- 3 standard deviations of the plot points.

## Ammonia Matrix Precision
Ammonia Matrix Precision Control
Date | #1 sample (mg/l) | #2 sample duplicate (mg/l) | Avg of Samples | Range (Difference) | Relative % Difference (RPD) | Data Avg | UWL | LWL | UCL | LCL | Corrective Action Statement
2024-04-18 | 0.4 | 0.3 | 0.35 | 0.1 | 28.5714 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
2024-04-19 | 0.4 | 0.4 | 0.4 | 0 | 0 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
2024-04-20 | 0.3 | 0.2 | 0.25 | 0.1 | 40 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
2024-04-21 | 0.4 | 0.2 | 0.3 | 0.2 | 66.6667 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
2024-04-22 | 0.38 | 0.37 | 0.375 | 0.01 | 2.6667 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
2024-04-23 | 0.6 | 0.55 | 0.575 | 0.05 | 8.6957 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
2024-04-24 | 2.6 | 2.55 | 2.575 | 0.05 | 1.9417 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
2024-04-25 | 3.6 | 3.5 | 3.55 | 0.1 | 2.8169 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
2024-04-26 | 2.65 | 2.6 | 2.625 | 0.05 | 1.9048 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
2024-04-27 | 2.6 | 2.55 | 2.575 | 0.05 | 1.9417 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
2024-04-28 | 2.4 | 2.35 | 2.375 | 0.05 | 2.1053 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
2024-04-29 | 0.1 | 0.05 | 0.075 | 0.05 | 66.6667 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
2024-04-30 | 2.4 | 2.4 | 2.4 | 0 | 0 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
2024-05-01 | 0.2 | 0.1 | 0.15 | 0.1 | 66.6667 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
2024-05-02 | 0.2 | 0 | 0.1 | 0.2 | 200 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797 | rerun sample to obtain closer difference
2024-05-03 | 0.2 | 0 | 0.1 | 0.2 | 200 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797 | rerun sample to obtain closer difference
2024-05-04 | 0.4 | 0.3 | 0.35 | 0.1 | 28.5714 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
2024-05-05 | 0.4 | 0.2 | 0.3 | 0.2 | 66.6667 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
2024-05-06 | 2.4 | 2.35 | 2.375 | 0.05 | 2.1053 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
2024-05-07 | 0.1 | 0.05 | 0.075 | 0.05 | 66.6667 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
2024-05-08 | 2.4 | 2.4 | 2.4 | 0 | 0 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
2024-05-09 | 0.2 | 0.1 | 0.15 | 0.1 | 66.6667 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
2024-05-10 | 0.4 | 0.3 | 0.35 | 0.1 | 28.5714 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
[12 empty] | Data Average | Mean | 41.2997
[12 empty] | Standard Deviation | Std Dev | 55.7931
Typically, the relative percent difference (RPD) of duplicates should not exceed 10%, but RPDs may vary considerably due to sample matrix and concentration. | [11 empty] | Upper Warning Limit | UWL | 152.8859 | Data Avg + 2 * std deviation
[12 empty] | Lower Warning Limit | LWL | -70.2866 | Data Avg - 2 * std deviation
Control charts show time-ordered plotted points around a center line. The center line is determined by calculating the mean of the plot points, typically about 20 to 25 points. The upper (UCL) and lower control limits (LCL) are typically set at +/- 3 standard deviations of the plot points. | [11 empty] | Upper Control Limit | UCL | 208.6791 | Data Avg + 3 * std deviation
[12 empty] | Lower Control Limit | LCL | -126.0797 | Data Avg - 3 * std deviation
| Run on a 5% basis | [10 empty] | https://www.youtube.com/watch?v=YV9QC1x9r8Y
https://www.qimacros.com/control-chart/precision-control-chart/
https://www.itl.nist.gov/div898/handbook/pmc/section3/pmc31.htm
https://asq.org/quality-resources/control-chart
When you start a new control chart, the process may be out of control. If so, the control limits calculated from the first 20 points are conditional limits. When you have at least 20 sequential points from a period when the process is operating in control, recalculate control limits.
SM 1020 B-2011
14. QC Evaluation for Small Sample Sizes
Small sample sizes (e.g., for field blanks and duplicate samples)
may not be suitable for QC evaluation with control charts.
QC evaluation techniques for small sample sizes are discussed
elsewhere.

## Ammonia Matrix Accuracy
Ammonia Matrix Accuracy Control
Date | Matrix Value | Actual Value | % Recovery | Average of % Recovery | UWL | LWL | UCL | LCL | Corrective action Statement
2024-04-18 | 1.2 | 1.23 | 97.561 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2024-04-19 | 1.48 | 1.5 | 98.6667 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2024-04-20 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2024-04-21 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2024-04-22 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2024-04-23 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2024-04-24 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2024-04-25 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2024-04-26 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2024-04-27 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2024-04-28 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2024-04-29 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2024-04-30 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2024-05-01 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2024-05-02 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2024-05-03 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2024-05-04 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2024-05-05 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2024-05-06 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2024-05-07 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2024-05-08 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2024-05-09 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2024-05-10 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[10 empty] | Average of % Recoveries | Mean | #DIV/0!
The actual value is going to be the effluent results and the LFB results added together. | [9 empty] | Standard Deviation | Std Dev | #DIV/0!
[10 empty] | Upper Warning Limit | UWL | #DIV/0! | Data Avg + 2 * std deviation
[10 empty] | Lower Warning Limit | LWL | #DIV/0! | Data Avg - 2 * std deviation
[10 empty] | Upper Control Limit | UCL | #DIV/0! | Data Avg + 3 * std deviation
[10 empty] | Lower Control Limit | LCL | #DIV/0! | Data Avg - 3 * std deviation
Control charts show time-ordered plotted points around a center line. The center line is determined by calculating the mean of the plot points, typically about 20 to 25 points. The upper (UCL) and lower control limits (LCL) are typically set at +/- 3 standard deviations of the plot points.

## Settleable Solids Precision
Settleable Solids Precision Control
Date | #1 sample (mg/l) | #2 sample duplicate (mg/l) | Avg of Samples | Range (Difference) | Relative % Difference (RPD) | Data Avg | UWL | LWL | UCL | LCL | Corrective Action Statement
2024-04-18 | 0.01 | 0.01 | 0.01 | 0 | 0 | 34.7188 | 149.7969 | -80.3592 | 207.3359 | -137.8982
2024-04-19 | 0.01 | 0.01 | 0.01 | 0 | 0 | 34.7188 | 149.7969 | -80.3592 | 207.3359 | -137.8982
2024-04-20 | 0.01 | 0.01 | 0.01 | 0 | 0 | 34.7188 | 149.7969 | -80.3592 | 207.3359 | -137.8982
2024-04-21 | 0.01 | 0.01 | 0.01 | 0 | 0 | 34.7188 | 149.7969 | -80.3592 | 207.3359 | -137.8982
2024-04-22 | 0.01 | 0.01 | 0.01 | 0 | 0 | 34.7188 | 149.7969 | -80.3592 | 207.3359 | -137.8982
2024-04-23 | 0.01 | 0.01 | 0.01 | 0 | 0 | 34.7188 | 149.7969 | -80.3592 | 207.3359 | -137.8982
2024-04-24 | 0.01 | 0.01 | 0.01 | 0 | 0 | 34.7188 | 149.7969 | -80.3592 | 207.3359 | -137.8982
2024-04-25 | 0.01 | 0.01 | 0.01 | 0 | 0 | 34.7188 | 149.7969 | -80.3592 | 207.3359 | -137.8982
2024-04-26 | 2.65 | 2.6 | 2.625 | 0.05 | 1.9048 | 34.7188 | 149.7969 | -80.3592 | 207.3359 | -137.8982
2024-04-27 | 2.6 | 2.55 | 2.575 | 0.05 | 1.9417 | 34.7188 | 149.7969 | -80.3592 | 207.3359 | -137.8982
2024-04-28 | 2.4 | 2.35 | 2.375 | 0.05 | 2.1053 | 34.7188 | 149.7969 | -80.3592 | 207.3359 | -137.8982
2024-04-29 | 0.1 | 0.05 | 0.075 | 0.05 | 66.6667 | 34.7188 | 149.7969 | -80.3592 | 207.3359 | -137.8982
2024-04-30 | 2.4 | 2.4 | 2.4 | 0 | 0 | 34.7188 | 149.7969 | -80.3592 | 207.3359 | -137.8982
2024-05-01 | 0.2 | 0.1 | 0.15 | 0.1 | 66.6667 | 34.7188 | 149.7969 | -80.3592 | 207.3359 | -137.8982
2024-05-02 | 0.2 | 0 | 0.1 | 0.2 | 200 | 34.7188 | 149.7969 | -80.3592 | 207.3359 | -137.8982 | rerun sample to obtain closer difference
2024-05-03 | 0.2 | 0 | 0.1 | 0.2 | 200 | 34.7188 | 149.7969 | -80.3592 | 207.3359 | -137.8982 | rerun sample to obtain closer difference
2024-05-04 | 0.4 | 0.3 | 0.35 | 0.1 | 28.5714 | 34.7188 | 149.7969 | -80.3592 | 207.3359 | -137.8982
2024-05-05 | 0.4 | 0.2 | 0.3 | 0.2 | 66.6667 | 34.7188 | 149.7969 | -80.3592 | 207.3359 | -137.8982
2024-05-06 | 2.4 | 2.35 | 2.375 | 0.05 | 2.1053 | 34.7188 | 149.7969 | -80.3592 | 207.3359 | -137.8982
2024-05-07 | 0.1 | 0.05 | 0.075 | 0.05 | 66.6667 | 34.7188 | 149.7969 | -80.3592 | 207.3359 | -137.8982
2024-05-08 | 2.4 | 2.4 | 2.4 | 0 | 0 | 34.7188 | 149.7969 | -80.3592 | 207.3359 | -137.8982
2024-05-09 | 0.2 | 0.1 | 0.15 | 0.1 | 66.6667 | 34.7188 | 149.7969 | -80.3592 | 207.3359 | -137.8982
2024-05-10 | 0.4 | 0.3 | 0.35 | 0.1 | 28.5714 | 34.7188 | 149.7969 | -80.3592 | 207.3359 | -137.8982
[12 empty] | Data Average | Mean | 34.7188
[12 empty] | Standard Deviation | Std Dev | 57.539
Typically, the relative percent difference (RPD) of duplicates should not exceed 10%, but RPDs may vary considerably due to sample matrix and concentration. | [11 empty] | Upper Warning Limit | UWL | 149.7969 | Data Avg + 2 * std deviation
[12 empty] | Lower Warning Limit | LWL | -80.3592 | Data Avg - 2 * std deviation
Control charts show time-ordered plotted points around a center line. The center line is determined by calculating the mean of the plot points, typically about 20 to 25 points. The upper (UCL) and lower control limits (LCL) are typically set at +/- 3 standard deviations of the plot points. | [11 empty] | Upper Control Limit | UCL | 207.3359 | Data Avg + 3 * std deviation
[12 empty] | Lower Control Limit | LCL | -137.8982 | Data Avg - 3 * std deviation
https://www.youtube.com/watch?v=YV9QC1x9r8Y
https://www.qimacros.com/control-chart/precision-control-chart/
https://www.itl.nist.gov/div898/handbook/pmc/section3/pmc31.htm
https://asq.org/quality-resources/control-chart
When you start a new control chart, the process may be out of control. If so, the control limits calculated from the first 20 points are conditional limits. When you have at least 20 sequential points from a period when the process is operating in control, recalculate control limits.
SM 1020 B-2011
14. QC Evaluation for Small Sample Sizes
Small sample sizes (e.g., for field blanks and duplicate samples)
may not be suitable for QC evaluation with control charts.
QC evaluation techniques for small sample sizes are discussed
elsewhere.

## pH Precision
pH Precision Control
Date | Standard Solution Value | #1 | #2 | Difference (Range) | Relative % Difference (RPD) | Data Avg | UWL | LWL | UCL | LCL | Comments
2024-04-18 | 7 | 7.03 | 7.04 | 0.01 | 0.14286 | 0.067227 | 0.28892 | -0.15447 | 0.39977 | -0.26532
2024-04-19 | 7 | 7.02 | 7.03 | 0.01 | 0.14286 | 0.067227 | 0.28892 | -0.15447 | 0.39977 | -0.26532
2024-04-20 | 7 | 7.01 | 7.04 | 0.03 | 0.42857 | 0.067227 | 0.28892 | -0.15447 | 0.39977 | -0.26532
2024-04-21 | 7 | 7.03 | 7.03 | 0 | 0 | 0.067227 | 0.28892 | -0.15447 | 0.39977 | -0.26532
2024-04-22 | 7 | 7.05 | 7.05 | 0 | 0 | 0.067227 | 0.28892 | -0.15447 | 0.39977 | -0.26532
2024-04-23 | 7 | 7.02 | 7.02 | 0 | 0 | 0.067227 | 0.28892 | -0.15447 | 0.39977 | -0.26532
2024-04-24 | 7 | 7.01 | 7.02 | 0.01 | 0.14286 | 0.067227 | 0.28892 | -0.15447 | 0.39977 | -0.26532
2024-04-25 | 7 | 7.02 | 7.02 | 0 | 0 | 0.067227 | 0.28892 | -0.15447 | 0.39977 | -0.26532
2024-04-26 | 7 | 7.05 | 7.04 | 0.01 | 0.14286 | 0.067227 | 0.28892 | -0.15447 | 0.39977 | -0.26532
2024-04-27 | 7 | 7.01 | 7.01 | 0 | 0 | 0.067227 | 0.28892 | -0.15447 | 0.39977 | -0.26532
2024-04-28 | 7 | 7.02 | 7.02 | 0 | 0 | 0.067227 | 0.28892 | -0.15447 | 0.39977 | -0.26532
2024-04-29 | 7 | 7.01 | 7.01 | 0 | 0 | 0.067227 | 0.28892 | -0.15447 | 0.39977 | -0.26532
2024-04-30 | 7 | 7.03 | 7.02 | 0.01 | 0.14286 | 0.067227 | 0.28892 | -0.15447 | 0.39977 | -0.26532
2024-05-01 | 7 | 7.04 | 7.04 | 0 | 0 | 0.067227 | 0.28892 | -0.15447 | 0.39977 | -0.26532
2024-05-02 | 7 | 7.02 | 7.02 | 0 | 0 | 0.067227 | 0.28892 | -0.15447 | 0.39977 | -0.26532
2024-05-03 | 7 | 7.03 | 7.03 | 0 | 0 | 0.067227 | 0.28892 | -0.15447 | 0.39977 | -0.26532
2024-05-04 | 7 | 7.01 | 7.01 | 0 | 0 | 0.067227 | 0.28892 | -0.15447 | 0.39977 | -0.26532
| 7 |  |  | 0 | 0 | 0.067227 | 0.28892 | -0.15447 | 0.39977 | -0.26532
| 7 |  |  | 0 | 0 | 0.067227 | 0.28892 | -0.15447 | 0.39977 | -0.26532
| 7 |  |  | 0 | 0 | 0.067227 | 0.28892 | -0.15447 | 0.39977 | -0.26532
| 7 |  |  | 0 | 0 | 0.067227 | 0.28892 | -0.15447 | 0.39977 | -0.26532
| 7 |  |  | 0 | 0 | 0.067227 | 0.28892 | -0.15447 | 0.39977 | -0.26532
| 7 |  |  | 0 | 0 | 0.067227 | 0.28892 | -0.15447 | 0.39977 | -0.26532
Since technically pH duplicates are | [11 empty] | Average of RPD | Mean | 0.067227
not reported as an average. | [11 empty] | Standard Dev of RPD | Std Dev | 0.11085
[12 empty] | Upper Warning Limit | UWL | 0.28892 | Data Avg + 2 * std deviation
[12 empty] | Lower Warning Limit | LWL | -0.15447 | Data Avg - 2 * std deviation
[12 empty] | Upper Control Limit | UCL | 0.39977 | Data Avg + 3 * std deviation
[12 empty] | Lower Control Limit | LCL | -0.26532 | Data Avg - 3 * std deviation

## TSS Accuracy Example
EXAMPLE - Effluent TSS Accuracy Control
Date | TSS Value | Actual Value | % Recovery | Average of % Recovery | UWL | LWL | UCL | LCL | Corrective action Statement
2024-04-18 | 98 | 100 | 98 | 97.8333 | 100.1667 | 95.5 | 101.3333 | 94.3333
2024-04-19 | 98 | 100 | 98 | 97.8333 | 100.1667 | 95.5 | 101.3333 | 94.3333
2024-04-20 | 98 | 100 | 98 | 97.8333 | 100.1667 | 95.5 | 101.3333 | 94.3333
2024-04-21 | 100 | 100 | 100 | 97.8333 | 100.1667 | 95.5 | 101.3333 | 94.3333
2024-04-22 | 98 | 100 | 98 | 97.8333 | 100.1667 | 95.5 | 101.3333 | 94.3333
2024-04-23 | 98 | 100 | 98 | 97.8333 | 100.1667 | 95.5 | 101.3333 | 94.3333
2024-04-24 | 97 | 100 | 97 | 97.8333 | 100.1667 | 95.5 | 101.3333 | 94.3333
2024-04-25 | 97 | 100 | 97 | 97.8333 | 100.1667 | 95.5 | 101.3333 | 94.3333
2024-04-26 | 97 | 100 | 97 | 97.8333 | 100.1667 | 95.5 | 101.3333 | 94.3333
2024-04-27 | 96 | 100 | 96 | 97.8333 | 100.1667 | 95.5 | 101.3333 | 94.3333
2024-04-28 | 100 | 100 | 100 | 97.8333 | 100.1667 | 95.5 | 101.3333 | 94.3333
2024-04-29 | 96 | 100 | 96 | 97.8333 | 100.1667 | 95.5 | 101.3333 | 94.3333
2024-04-30 | 98 | 100 | 98 | 97.8333 | 100.1667 | 95.5 | 101.3333 | 94.3333
2024-05-01 | 100 | 100 | 100 | 97.8333 | 100.1667 | 95.5 | 101.3333 | 94.3333
2024-05-02 | 97 | 100 | 97 | 97.8333 | 100.1667 | 95.5 | 101.3333 | 94.3333
2024-05-03 | 98 | 100 | 98 | 97.8333 | 100.1667 | 95.5 | 101.3333 | 94.3333
2024-05-04 | 97 | 100 | 97 | 97.8333 | 100.1667 | 95.5 | 101.3333 | 94.3333
2024-05-05 | 98 | 100 | 98 | 97.8333 | 100.1667 | 95.5 | 101.3333 | 94.3333
2024-05-06 | 98 | 100 | 98 | 97.8333 | 100.1667 | 95.5 | 101.3333 | 94.3333
2024-05-07 | 99 | 100 | 99 | 97.8333 | 100.1667 | 95.5 | 101.3333 | 94.3333
2024-05-08 | 98 | 100 | 98 | 97.8333 | 100.1667 | 95.5 | 101.3333 | 94.3333
2024-05-09 | 98 | 100 | 98 | 97.8333 | 100.1667 | 95.5 | 101.3333 | 94.3333
2024-05-10 | 96 | 100 | 96 | 97.8333 | 100.1667 | 95.5 | 101.3333 | 94.3333
[10 empty] | Average of % Recoveries | Mean | 97.8333
[10 empty] | Standard Deviation | Std Dev | 1.1667
[10 empty] | Upper Warning Limit | UWL | 100.1667 | Data Avg + 2 * std deviation
[10 empty] | Lower Warning Limit | LWL | 95.5 | Data Avg - 2 * std deviation
Real people language – analyze TSS Standard sample that can be prepared from recipe below or bought premade. | [9 empty] | Upper Control Limit | UCL | 101.3333 | Data Avg + 3 * std deviation
| Run on a 5% basis | [8 empty] | Lower Control Limit | LCL | 94.3333 | Data Avg - 3 * std deviation
Control charts show time-ordered plotted points around a center line. The center line is determined by calculating the mean of the plot points, typically about 20 to 25 points. The upper (UCL) and lower control limits (LCL) are typically set at +/- 3 standard deviations of the plot points.

## TSS Precision Example
EXAMPLE - Effluent TSS Precision Control
Date | #1 sample (mg/l) | #2 sample duplicate (mg/l) | Avg of Samples | Range (Difference) | Relative % Difference (RPD) | Data Avg | UWL | LWL | UCL | LCL | Corrective Action Statement
2012-08-22 | 0.4 | 0.3 | 0.35 | 0.1 | 28.5714 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
2012-08-23 | 0.4 | 0.4 | 0.4 | 0 | 0 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
2012-08-24 | 0.3 | 0.2 | 0.25 | 0.1 | 40 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
2012-08-25 | 0.4 | 0.2 | 0.3 | 0.2 | 66.6667 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
2012-08-27 | 0.38 | 0.37 | 0.375 | 0.01 | 2.6667 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
2012-08-28 | 0.6 | 0.55 | 0.575 | 0.05 | 8.6957 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
2012-08-29 | 2.6 | 2.55 | 2.575 | 0.05 | 1.9417 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
2012-08-30 | 3.6 | 3.5 | 3.55 | 0.1 | 2.8169 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
2012-08-31 | 2.65 | 2.6 | 2.625 | 0.05 | 1.9048 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
2012-09-01 | 2.6 | 2.55 | 2.575 | 0.05 | 1.9417 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
2012-09-03 | 2.4 | 2.35 | 2.375 | 0.05 | 2.1053 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
2012-09-04 | 0.1 | 0.05 | 0.075 | 0.05 | 66.6667 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
2012-09-05 | 2.4 | 2.4 | 2.4 | 0 | 0 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
2012-09-06 | 0.2 | 0.1 | 0.15 | 0.1 | 66.6667 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
2012-09-07 | 0.2 | 0 | 0.1 | 0.2 | 200 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797 | rerun sample to obtain closer difference
2012-09-08 | 0.2 | 0 | 0.1 | 0.2 | 200 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797 | rerun sample to obtain closer difference
2012-09-10 | 0.4 | 0.3 | 0.35 | 0.1 | 28.5714 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
2012-09-11 | 0.4 | 0.2 | 0.3 | 0.2 | 66.6667 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
2012-09-12 | 2.4 | 2.35 | 2.375 | 0.05 | 2.1053 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
2012-09-13 | 0.1 | 0.05 | 0.075 | 0.05 | 66.6667 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
2012-09-14 | 2.4 | 2.4 | 2.4 | 0 | 0 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
2012-09-15 | 0.2 | 0.1 | 0.15 | 0.1 | 66.6667 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
2012-09-16 | 0.4 | 0.3 | 0.35 | 0.1 | 28.5714 | 41.2997 | 152.8859 | -70.2866 | 208.6791 | -126.0797
[12 empty] | Data Average | Mean | 41.2997
[12 empty] | Standard Deviation | Std Dev | 55.7931
Typically, the relative percent difference (RPD) of duplicates should not exceed 10%, but RPDs may vary considerably due to sample matrix and concentration. | [11 empty] | Upper Warning Limit | UWL | 152.8859 | Data Avg + 2 * std deviation
[12 empty] | Lower Warning Limit | LWL | -70.2866 | Data Avg - 2 * std deviation
Control charts show time-ordered plotted points around a center line. The center line is determined by calculating the mean of the plot points, typically about 20 to 25 points. The upper (UCL) and lower control limits (LCL) are typically set at +/- 3 standard deviations of the plot points. | [11 empty] | Upper Control Limit | UCL | 208.6791 | Data Avg + 3 * std deviation
[12 empty] | Lower Control Limit | LCL | -126.0797 | Data Avg - 3 * std deviation
Real people language – analyze TSS Standard sample that can be prepared from recipe below or bought premade.
| Run on a 5% basis | [10 empty] | https://www.youtube.com/watch?v=YV9QC1x9r8Y
https://www.qimacros.com/control-chart/precision-control-chart/
Fill in Date, TSS test values of the day. All else will be calculated and graphed.
https://www.itl.nist.gov/div898/handbook/pmc/section3/pmc31.htm
https://asq.org/quality-resources/control-chart
When you start a new control chart, the process may be out of control. If so, the control limits calculated from the first 20 points are conditional limits. When you have at least 20 sequential points from a period when the process is operating in control, recalculate control limits.
SM 1020 B-2011
14. QC Evaluation for Small Sample Sizes
Small sample sizes (e.g., for field blanks and duplicate samples)
may not be suitable for QC evaluation with control charts.
QC evaluation techniques for small sample sizes are discussed
elsewhere.

## Accuracy 1
Accuracy Control
Date | Value | Actual Value | % Recovery | Average of % Recovery | UWL | LWL | UCL | LCL | Corrective Action Statement
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[10 empty] | Average of % Recoveries | Mean | #DIV/0!
[10 empty] | Standard Deviation | Std Dev | #DIV/0!
[10 empty] | Upper Warning Limit | UWL | #DIV/0! | Data Avg + 2 * std deviation
[10 empty] | Lower Warning Limit | LWL | #DIV/0! | Data Avg - 2 * std deviation
[10 empty] | Upper Control Limit | UCL | #DIV/0! | Data Avg + 3 * std deviation
[10 empty] | Lower Control Limit | LCL | #DIV/0! | Data Avg - 3 * std deviation

## Accuracy 2
Accuracy Control
Date | Value | Actual Value | % Recovery | Average of % Recovery | UWL | LWL | UCL | LCL | Corrective Action Statement
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[10 empty] | Average of % Recoveries | Mean | #DIV/0!
[10 empty] | Standard Deviation | Std Dev | #DIV/0!
[10 empty] | Upper Warning Limit | UWL | #DIV/0! | Data Avg + 2 * std deviation
[10 empty] | Lower Warning Limit | LWL | #DIV/0! | Data Avg - 2 * std deviation
[10 empty] | Upper Control Limit | UCL | #DIV/0! | Data Avg + 3 * std deviation
[10 empty] | Lower Control Limit | LCL | #DIV/0! | Data Avg - 3 * std deviation

## Accuracy 3
Accuracy Control
Date | Value | Actual Value | % Recovery | Average of % Recovery | UWL | LWL | UCL | LCL | Corrective Action Statement
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[10 empty] | Average of % Recoveries | Mean | #DIV/0!
[10 empty] | Standard Deviation | Std Dev | #DIV/0!
[10 empty] | Upper Warning Limit | UWL | #DIV/0! | Data Avg + 2 * std deviation
[10 empty] | Lower Warning Limit | LWL | #DIV/0! | Data Avg - 2 * std deviation
[10 empty] | Upper Control Limit | UCL | #DIV/0! | Data Avg + 3 * std deviation
[10 empty] | Lower Control Limit | LCL | #DIV/0! | Data Avg - 3 * std deviation

## Accuracy 4
Accuracy Control
Date | Value | Actual Value | % Recovery | Average of % Recovery | UWL | LWL | UCL | LCL | Corrective Action Statement
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[10 empty] | Average of % Recoveries | Mean | #DIV/0!
[10 empty] | Standard Deviation | Std Dev | #DIV/0!
[10 empty] | Upper Warning Limit | UWL | #DIV/0! | Data Avg + 2 * std deviation
[10 empty] | Lower Warning Limit | LWL | #DIV/0! | Data Avg - 2 * std deviation
[10 empty] | Upper Control Limit | UCL | #DIV/0! | Data Avg + 3 * std deviation
[10 empty] | Lower Control Limit | LCL | #DIV/0! | Data Avg - 3 * std deviation

## Precision 1
Precision Control
Date | #1 sample value (mg/l) | #2 sample duplicate value (mg/l) | Avg of Samples | Range (Difference) | Relative % Difference (RPD) | Data Avg | UWL | LWL | UCL | LCL | Corrective Action Statement
2024-04-18 | 0.01 | 0.01 | 0.01 | 0 | 0 | 5.7971 | 43.3666 | -31.7724 | 62.1514 | -50.5572
2024-04-19 | 0.01 | 0.01 | 0.01 | 0 | 0 | 5.7971 | 43.3666 | -31.7724 | 62.1514 | -50.5572
2024-04-20 | 0.02 | 0.02 | 0.02 | 0 | 0 | 5.7971 | 43.3666 | -31.7724 | 62.1514 | -50.5572
2024-04-21 | 0.01 | 0.01 | 0.01 | 0 | 0 | 5.7971 | 43.3666 | -31.7724 | 62.1514 | -50.5572
2024-04-22 | 0.01 | 0.02 | 0.015 | 0.01 | 66.6667 | 5.7971 | 43.3666 | -31.7724 | 62.1514 | -50.5572 | Rerun sample
2024-04-23 | 0.01 | 0.01 | 0.01 | 0 | 0 | 5.7971 | 43.3666 | -31.7724 | 62.1514 | -50.5572
2024-04-24 | 0.01 | 0.01 | 0.01 | 0 | 0 | 5.7971 | 43.3666 | -31.7724 | 62.1514 | -50.5572
2024-04-25 | 0.01 | 0.01 | 0.01 | 0 | 0 | 5.7971 | 43.3666 | -31.7724 | 62.1514 | -50.5572
2024-04-26 | 0.02 | 0.01 | 0.015 | 0.01 | 66.6667 | 5.7971 | 43.3666 | -31.7724 | 62.1514 | -50.5572 | Rerun sample
2024-04-27 | 0.01 | 0.01 | 0.01 | 0 | 0 | 5.7971 | 43.3666 | -31.7724 | 62.1514 | -50.5572
2024-04-28 | 0.01 | 0.01 | 0.01 | 0 | 0 | 5.7971 | 43.3666 | -31.7724 | 62.1514 | -50.5572
2024-04-29 | 0.01 | 0.01 | 0.01 | 0 | 0 | 5.7971 | 43.3666 | -31.7724 | 62.1514 | -50.5572
2024-04-30 | 0.01 | 0.01 | 0.01 | 0 | 0 | 5.7971 | 43.3666 | -31.7724 | 62.1514 | -50.5572
2024-05-01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 5.7971 | 43.3666 | -31.7724 | 62.1514 | -50.5572
2024-05-02 | 0.01 | 0.01 | 0.01 | 0 | 0 | 5.7971 | 43.3666 | -31.7724 | 62.1514 | -50.5572
2024-05-03 | 0.01 | 0.01 | 0.01 | 0 | 0 | 5.7971 | 43.3666 | -31.7724 | 62.1514 | -50.5572
2024-05-04 | 0.01 | 0.01 | 0.01 | 0 | 0 | 5.7971 | 43.3666 | -31.7724 | 62.1514 | -50.5572
2024-05-05 | 0.01 | 0.01 | 0.01 | 0 | 0 | 5.7971 | 43.3666 | -31.7724 | 62.1514 | -50.5572
2024-05-06 | 0.01 | 0.01 | 0.01 | 0 | 0 | 5.7971 | 43.3666 | -31.7724 | 62.1514 | -50.5572
2024-05-07 | 0.01 | 0.01 | 0.01 | 0 | 0 | 5.7971 | 43.3666 | -31.7724 | 62.1514 | -50.5572
2024-05-08 | 0.01 | 0.01 | 0.01 | 0 | 0 | 5.7971 | 43.3666 | -31.7724 | 62.1514 | -50.5572
2024-05-09 | 0.01 | 0.01 | 0.01 | 0 | 0 | 5.7971 | 43.3666 | -31.7724 | 62.1514 | -50.5572
2024-05-10 | 0.01 | 0.01 | 0.01 | 0 | 0 | 5.7971 | 43.3666 | -31.7724 | 62.1514 | -50.5572
[12 empty] | Data Average | Mean | 5.7971
[12 empty] | Standard Deviation | Std Dev | 18.7848
[12 empty] | Upper Warning Limit | UWL | 43.3666 | Data Avg + 2 * std deviation
[12 empty] | Lower Warning Limit | LWL | -31.7724 | Data Avg - 2 * std deviation
[12 empty] | Upper Control Limit | UCL | 62.1514 | Data Avg + 3 * std deviation
[12 empty] | Lower Control Limit | LCL | -50.5572 | Data Avg - 3 * std deviation
https://www.youtube.com/watch?v=YV9QC1x9r8Y
https://www.qimacros.com/control-chart/precision-control-chart/

## Precision 2
Precision Control
Date | #1 sample value (mg/l) | #2 sample duplicate value (mg/l) | Avg of Samples | Range (Difference) | Relative % Difference (RPD) | Data Avg | UWL | LWL | UCL | LCL | Corrective Action Statement
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[12 empty] | Data Average | Mean | #DIV/0!
[12 empty] | Standard Deviation | Std Dev | #DIV/0!
[12 empty] | Upper Warning Limit | UWL | #DIV/0! | Data Avg + 2 * std deviation
[12 empty] | Lower Warning Limit | LWL | #DIV/0! | Data Avg - 2 * std deviation
[12 empty] | Upper Control Limit | UCL | #DIV/0! | Data Avg + 3 * std deviation
[12 empty] | Lower Control Limit | LCL | #DIV/0! | Data Avg - 3 * std deviation
https://www.youtube.com/watch?v=YV9QC1x9r8Y
https://www.qimacros.com/control-chart/precision-control-chart/

## Precision 3
Precision Control
Date | #1 sample value (mg/l) | #2 sample duplicate value (mg/l) | Avg of Samples | Range (Difference) | Relative % Difference (RPD) | Data Avg | UWL | LWL | UCL | LCL | Corrective Action Statement
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[12 empty] | Data Average | Mean | #DIV/0!
[12 empty] | Standard Deviation | Std Dev | #DIV/0!
[12 empty] | Upper Warning Limit | UWL | #DIV/0! | Data Avg + 2 * std deviation
[12 empty] | Lower Warning Limit | LWL | #DIV/0! | Data Avg - 2 * std deviation
[12 empty] | Upper Control Limit | UCL | #DIV/0! | Data Avg + 3 * std deviation
[12 empty] | Lower Control Limit | LCL | #DIV/0! | Data Avg - 3 * std deviation
https://www.youtube.com/watch?v=YV9QC1x9r8Y
https://www.qimacros.com/control-chart/precision-control-chart/

## Precision 4
Precision Control
Date | #1 sample value (mg/l) | #2 sample duplicate value (mg/l) | Avg of Samples | Range (Difference) | Relative % Difference (RPD) | Data Avg | UWL | LWL | UCL | LCL | Corrective Action Statement
| 100 | 100 | 100 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[12 empty] | Data Average | Mean | #DIV/0!
[12 empty] | Standard Deviation | Std Dev | #DIV/0!
[12 empty] | Upper Warning Limit | UWL | #DIV/0! | Data Avg + 2 * std deviation
[12 empty] | Lower Warning Limit | LWL | #DIV/0! | Data Avg - 2 * std deviation
[12 empty] | Upper Control Limit | UCL | #DIV/0! | Data Avg + 3 * std deviation
[12 empty] | Lower Control Limit | LCL | #DIV/0! | Data Avg - 3 * std deviation
https://www.youtube.com/watch?v=YV9QC1x9r8Y
https://www.qimacros.com/control-chart/precision-control-chart/