Roadway Lighting

The following information is required to accompany all plans for Roadway Lighting.

- Geometrics of the roadway.

- Longitudinal location of Luminaire along the Roadway.

- Cross-section of the Roadway showing the location of the Luminaire with respect to the edge of the pavement (both horizontally and vertically).

- Photometric data used in the design.

- Luminaire size, ASA type, and initial lumen rating, associated with the Luminaire when operating in the position for which the equipment was designed.

- Mounting height and type of poles to be used.

- Average spacing of Luminaires.

- Average horizontal footcandle level.

- Minimum horizontal footcandle level.

- Maintenance factor used in design.

- Character of the existing street lighting at each end of the proposed new system and on the intersecting roadways.

Upon request and when available, the Department will provide prints of the highway construction plans for use as a base for proposed lighting plan.