## Slide 1: Underground Storage Tank Enforcement Update
Underground Storage Tanks and
Solid Waste Disposal Control Board
May 14, 2019
Notes: Tonya

## Slide 2: ENFORCEMENT OVERVIEW
UST issued 41 Orders between February 6, 2019 and April 8, 2019.
Of the Orders that have gone Final:
  1 is in Final Status
  12 are in Final – Probation Status
UST had one Appealed Order resolved since the previous board meeting.
Notes: Mark

## Slide 3: Final Order
Summary of UST18-0107
  Expedited Director’s Order signed February 22, 2019
  Final on April 5, 2019
  Violations Addressed on Director’s Order
    Failure to have monthly release detection on the three tanks
  Upfront Civil Penalty $1,920 Contingent $7,680
  The full civil penalty has been referred for collection.
Notes: Mark

## Slide 4: Final-Probation Order
Summary of UST17-0139
  Expedited Director’s Order signed February 22, 2019
  Final on March 28, 2019
  Violations Addressed on Director’s Order
    Failure to have annual line tightness test or monthly monitoring on pressurized piping for five lines
  Penalty:
    Upfront - Tank School
    Contingent - $10,000
  The request to attend tank school was received March 7, 2019.

## Slide 5: Final-Probation Order
Summary of UST18-0018
  Expedited Director’s Order signed February 22, 2019
  Final on March 28, 2019
  Violations Addressed on Director’s Order
    Failure to have interstitial monitoring on pressurized piping installed after July 24, 2007 for three lines
  Penalty:
    Upfront - Tank School
    Contingent - $6,000
  The request to attend tank school was received March 7, 2019.

## Slide 6: Final-Probation Order
Summary of UST18-0019
  Expedited Director’s Order signed February 22, 2019
  Final on March 28, 2019
  Violations Addressed on Director’s Order
    Failure to install, calibrate, operate, or maintain release detection in accordance with manufacturer's instructions for one line leak detector
  Penalty:
    Upfront - Tank School
    Contingent - $2,000
  The request to attend tank school was received March 7, 2019.

## Slide 7: Final-Probation Order
Summary of UST18-0026
  Expedited Director’s Order signed February 22, 2019
  Final on March 28, 2019
  Violations Addressed on Director’s Order
    Failure to install, calibrate, operate, or maintain release detection in accordance with manufacturer's instructions for two line leak detectors
  Penalty:
    Upfront - Tank School
    Contingent - $4,000
  The request to attend tank school was received March 7, 2019.

## Slide 8: Final-Probation Order
Summary of UST18-0108
  Expedited Director’s Order signed February 22, 2019
  Final on April 5, 2019
  Violations Addressed on Director’s Order
    Failure to have monthly release detection on the one tank
  Penalty:
    Upfront - $640
    Contingent - $2,560
  The payment of the upfront penalty was received March 26, 2019.

## Slide 9: Final-Probation Order
Summary of UST18-0123
  Expedited Director’s Order signed February 22, 2019
  Final on March 28, 2019
  Violations Addressed on Director’s Order
    Failure to have annual line tightness test or monthly monitoring on pressurized piping for three lines
  Penalty:
    Upfront - Tank School
    Contingent - $6,000
  The request to attend tank school was received on March 5, 2019.

## Slide 10: Final-Probation Order
Summary of UST18-0132
  Expedited Director’s Order signed February 22, 2019
  Final on March 28, 2019
  Violations Addressed on Director’s Order
    Failure to have monthly release detection on the two tanks
  Penalty:
    Upfront - Tank School
    Contingent - $6,400
  The request to attend tank school was received February 28, 2019.

## Slide 11: Final-Probation Order
Summary of UST18-0137
  Expedited Director’s Order signed February 22, 2019
  Final on April 5, 2019
  Violations Addressed on Director’s Order
    Failure to install, calibrate, operate, or maintain release detection in accordance with manufacturer's instructions for three tanks
    Failure to install, calibrate, operate, or maintain release detection in accordance with manufacturer's instructions for three line leak detectors
  Penalty:
    Upfront - Tank School
    Contingent - $15,600
  The request to attend tank school was received March 18, 2019.

## Slide 12: Final-Probation Order
Summary of UST18-0144
  Expedited Director’s Order signed February 22, 2019
  Final on March 28, 2019
  Violations Addressed on Director’s Order
    Failure to have annual line tightness test or monthly monitoring on pressurized piping for one line
  Penalty:
    Upfront - Tank School
    Contingent - $2,000
  The request to attend tank school was received March 20, 2019.

## Slide 13: Final-Probation Order
Summary of UST18-0154
  Expedited Director’s Order signed February 22, 2019
  Final on April 5, 2019
  Violations Addressed on Director’s Order
    Failure to have monthly release detection on the three tanks
  Penalty:
    Upfront - Tank School
    Contingent - $9,600
  The request to attend tank school was received March 14, 2019.

## Slide 14: Final-Probation Order
Summary of UST19-0001
  Expedited Director’s Order signed February 22, 2019
  Date order went final unknown (no green card received yet and no status on USPS)
  Violations Addressed on Director’s Order
    Failure to have annual line tightness test or monthly monitoring on pressurized piping for two lines
  Penalty:
    Upfront - Tank School
    Contingent - $4,000
  The request to attend tank school was received March 4, 2019.

## Slide 15: Final-Probation Order
Summary of UST19-0002
  Expedited Director’s Order signed February 22, 2019
  Final on March 28, 2019
  Violations Addressed on Director’s Order
    Failure to have interstitial monitoring on tanks installed after July 24, 2007
    Failure to have interstitial monitoring on pressurized piping installed after July 24, 2007 for three lines
  Penalty:
    Upfront - Tank School
    Contingent - $15,600
  The request to attend tank school was received on March 4, 2019.

## Slide 16: Appealed Order
Summary of CRF17-0001
  Commissioner's Order signed April 19, 2018
  Appealed on May 21, 2019
  This Order combined cost recovery of emergency response activities conducted by the Division and Civil penalties for improper closure of tanks.
  Cost Recovery of Emergency Response - $93,969.96
  Civil Penalty - $62,880

## Slide 17: Appealed Order
Summary of CRF17-0001
  Settlement Agreement
    All Parties
      Cost recovery $75,000
    Rooziman Shah
      Attend Tank School
      Contingent Civil Penalty - $34,080 with a two-year probationary period for all facilities owned by respondent and his affiliated businesses
    Beruk Construction
      Obtain a License S-B from the Department of Commerce and Insurance
      Attend a tank closure in its entirety and coordinated by UST
      Reimburse UST up to $1,000 for an cost incurred for the tank closure training
      Attend Tank School
      Contingent Civil Penalty - $28,800 on completion of all requirements in the Order

## Slide 18: Questions?